# Honey project for Gunter teaching class.

(previous user blank was okay, software was opened)

# Background 130326, without force, 16 scans, R4

As good as when ATR installed here, only a little bit lower energy, instead of 10-16, 9-15

# First Blank after cleaning with 2propanol and water, R4 8 scans.

Samples View 1

# Between samples I clean with water and then EtOH, no pressure arm

# Blanks overlaid, in sequence

Small carry over effect that easily disappeared after more harsh cleaning on 160326

Samples View 1

# Final blank on 160326

It is okay

blank_160326

| Sample Name | Description | Saved or unsaved State | Spectrum quality check summary |
| --- | --- | --- | --- |
| blank_160326 | Sample 308 By iruser Date Friday, March 13 2026 | Saved | The Quality Checks do not report any warnings for the sample. |

# Overlaid of Honey samples. (Including my honey sample: Mogarraz)

Samples View 2

In detail

Main differences: fingerprint region (below 1500 cm-1)